Appendix 4:  Dioxin/Furan Data Review Worksheet

| Agency: ____________________________ | Date(s) Sampled: ______________________________________________________ Date(s) Extracted: ______________________________________________________ Date(s) Analyzed: ______________________________________________________ |
| --- | --- |
| Laboratory: _____________________________ Permit/’Attachment G’ (March 2010) Submitted to Lab? ( Yes ( No | Sample ID’s: ___________________________________________________________ Batch #/Test: ____________________________________________________________________ ______________________________________________________________________ |
| COC#: _____________________________ | Data Reviewer(s): ___________________ ___________________ | Date Lab Report Received? ______________ | Laboratory Report Number(s): ______________ ______________ |

| Data Quality Element Reviewed | Issues Flagged by the Laboratory? | Data Usable? Yes No NA | Guidance |
| --- | --- | --- | --- |
| 1. Chain of Custody Complete? |  | ( | ( | ( |  |
| 2. Required Analysis Reported? |  | ( | ( | ( |  |
| 3. Holding Times Met and Transport Temperatures Acceptable? |  | ( | ( | ( | Flag ‘J’ (Estimated): ( Yes ( No Flag ‘R’ (Rejected): ( Yes ( No Re-Sample/Re-Analyze: ( Yes ( No |
| 4. Laboratory Report Complete, Signed, Dated, On Time? |  | ( | ( | ( |  |
| 5. Equipment Blank(s) |  | ( | ( | ( | Use judgment if positive detections |
| 6. Field Blank(s) |  | ( | ( | ( | Use judgment if positive detections |
| 7. Field Duplicates |  | ( | ( | ( | Use replicate data to trend system precision over time |
| 8. Positive Sample Results Reported? |  | ( | ( | ( | Use Section 19 Worksheet to evaluate positive results. Results ≥MDL and <ML need ‘DNQ’ flags. Lab to use only Method 1613 detection limit terms. Positive results ≥ML are used for Dioxin-TEQ. |
| 9. Laboratory Method Blank(s) |  | ( | ( | ( | Use Section 19 Worksheet to evaluate positive results in all samples and associated Method Blanks. Laboratory must re-extract and re-analyze if Dioxin/Furans ≥ ML or 1/3 regulatory compliance level per Method 1613. Table A in “Attachment G” is used for the ML. |
| 10. OPR Results (e.g. LCS) |  | ( | ( | ( | Laboratory must meet Table 6 limits from Method 1613 |
| 11. Matrix Spike/Matrix Spike Duplicates |  | ( | ( | ( | Use MS/MSD data to trend system accuracy and precision over time |
| 12. Internal Standards |  | ( | ( | ( | Laboratory must meet Table 6 limits from Method 1613 |
| 13. Labeled Isotopes |  | ( | ( | ( | Laboratory must meet Table 7 limits from Method 1613 |
| 14. Cleanup Surrogate or Standard (e.g. 37Cl4-2,3,7,8-TCDD, CRS) |  | ( | ( | ( | Laboratory must meet %Recovery (35-197%) requirement stated in Table 7 |
| 15. Any Estimated Maximum Concentration Results Reported? (EMPC’s are detects that do not meet all of the identification criteria so ID is less certain) |  | ( | ( | ( | The Guidance is to require the laboratory to remove any reference to “EMPC” terminology from its laboratory reports. EMPC’s is a hazardous waste testing term not defined in Method 1613. |
| 16. TEFs used and Dioxin-TEQ Calculation Correct? |  | ( | ( | ( | Confirm 1998 WHO TEFs used for the Dioxin-TEQ Calculation. |
| 17. BEFs used and Dioxin-TEQ Calculation Correct? |  | ( | ( | ( | Confirm 1995 GLI BEFs used for the Dioxin-TEQ Calculation. |
| 18. Other issues identified by the laboratory? |  | ( | ( | ( | Laboratory should meet all QC requirements specified by Method 1613 for compliance monitoring. |
| 19. Are data properly flagged based on permit instructions? |  | ( | ( | ( | Confirm laboratory has followed permit instructions for reporting. |

| Congener | MDL (pg/L) | Minimum Level (ML) Table A (pg/L) | Sample Congener Results (pg/L) Batch #: _________ | Method Blank Results (pg/L) Batch #: _________ | Flag Sample Result if: |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | < ML = DNQ |
|  |  |  |  |  | ≥ML = No Flag |
|  |  |  |  |  | < MDL = ND |
|  |  |  |  |  | ‘B’ = Positive Detection for the same Congener in the associated Method Blank* |
| 2,3,7,8-tetra CDD |  | 10 |  |  |  |
| 1,2,3,7,8-penta CDD |  | 50 |  |  |  |
| 1,2,3,4,7,8-hexa CDD |  | 50 |  |  |  |
| 1,2,3,6,7,8-hexa CDD |  | 50 |  |  |  |
| 1,2,3,7,8,9-hexa CDD |  | 50 |  |  |  |
| 1,2,3,4,6,7,8-hepta CDD |  | 50 |  |  |  |
| octa-CDD |  | 100 |  |  |  |
| 2,3,7,8-tetra CDF |  | 10 |  |  |  |
| 1,2,3,7,8-penta CDF |  | 50 |  |  |  |
| 2,3,4,7,8-penta CDF |  | 50 |  |  |  |
| 1,2,3,4,7,8-hexa CDF |  | 50 |  |  |  |
| 1,2,3,6,7,8-hexa CDF |  | 50 |  |  |  |
| 1,2,3,7,8,9,-hexa CDF |  | 50 |  |  |  |
| 2,3,4,6,7,8-hexa CDF |  | 50 |  |  |  |
| 1,2,3,4,6,7,8-hepta CDF |  | 50 |  |  |  |
| 1,2,3,6,7,8,9-hepta CDF |  | 50 |  |  |  |
| octa-CDF |  | 100 |  |  |  |

*Consider qualifying or rejecting results using professional judgment when Method Blank data are not significantly different from sample results. The laboratory should be contacted for determining next steps.