## Slide 1: “Optimizing Collection System Program Performance
Practices an agency can employ to manage and improve collection system performance with limited resources through resource optimization, use of technology, and targeted/timely maintenance”

## Slide 2: Outline
Don’t accept substandard Pipes, Manholes, and Lift/Pump Stations (Future Savings)
Understand your current problems (Current & Future Savings)
Decide on appropriate CM or R&R (Current & Future Savings)
Develop Annual and 5-10 year Plans (Planning Future Costs)
Find problems before they find you (Controlling Surprise Costs)
Training and Assessments (Investing to ensure value & prevent waste)
Measurements and Audits (Ensure you are getting results)
Q&A

## Slide 3: Doing More with Less
We have all heard this for years now.
Perhaps we need to do less of the ineffective efforts that do not get us the results that we want?
Perhaps we need to make some strategic changes that have been time tested? BMPs
Perhaps we need do a better job educating the decision makers on the amount of resources needed to complete to the work? (O&M and CIP)
Much of what we are talking about today can be done with existing staff.

## Slide 4: Don’t accept substandard Pipes, M/Hs, and Lift/Pump Stations
This prevents future maintenance issues – time saver
Adopt/Update Standards & Specifications (WDR D.13.v)
Competent inspectors
Proper bedding and compaction
TV Inspection - Initially and 1 year warranty
Air Test
Mandrill or deflectometer
Final walk through

## Slide 5: Understand your current problems
You will gain the most from your time suckers.
  (1 mo. Hot Spots, Siphons, roots, laterals, wipes)
Re-evaluating these lines, can result in freeing up labor hours – You can do other work 
Failure Causal Analysis- competent person
  Video
  Historical Records
  Past Performance
You can’t solve a problem unless you fully understand it.

## Slide 6: Understand your current problems – cont.
Is you data flow reliable?
  Notes from field crews addressed?
  Defects and condition of assets captured?
  Can field crews see the results of their actions?
    Maps updated?
    Defects corrected?
    Schedules adjusted?
Operators and Engineers relationship?
Leaders need to cast the vision of a team effort in O&M activities

## Slide 7: Decide on appropriate CM or R&R
Roots, grease, sag, offset, protrusion, or broken
  Very different problems with very different solutions
Select the correct solution – including a CBA
  Sometimes a repair/rehab/replacement can make the future maintenance go away
Short Term vs. Long Term
  Can’t afford Repair now?
    Schedule for future
    Perform CM until fixed
    Once fixed, remove from CM

## Slide 8: Decide on appropriate CM or R&R – cont.
Not all CM methods are equal – some are a waste of time
  The free nozzles vs. superior spinning nozzles
  Cutting roots (4 times a yr) vs. Cut, Wait, Treat, Stay out (3 yr cycle)
  3 Year cost of $4.20/ft vs. $1.55/ft
  Hard grease vs. soft grease
Competent Operators – prevents re-work
  Using wrong nozzle or too fast
  Not removing debris or noting results/condition
QA/QC
  Field verify that crews are using the correct nozzle and rate of retrieval
  Spot check with TV occasionally – share video results with employees
Adjust as necessary

## Slide 9: Develop Annual and 5-10 year Plans
Because you don’t have the time or resources to do it all now - Prioritize
O&M and CIP
The plans should include Training.
  Short cutting this will cost you time in the long run
The plan should include Measures (KPI)
In-house vs. contract out?
Check & Share results monthly, quarterly, & annually
Adjust as needed

## Slide 10: Find the problems before they find you
Reactive is a time and resource killer.
TV, Scans, Sonic, Easement/Access
Condition Assessment & Ranking of all Assets
  Pipes
    TVI – Coded properly
  Manhole
    MHI – or simply notate when opened for other reasons
  Stations/ Force Mains
    Individual components
    Vibration, Thermal, KWH, Oil Analysis, Corrosion
    Cathodic Protection

## Slide 11: Training and Assessment
Develop SOPs and Competency Standards
Train – You show them (WDR D.13.v.d)
Assess – They show you
Periodic Re-Assessments and refresh training
As SOPs and Standards change – Re-train/assess
Any of your efforts are only as good as your people
There likely is some Un-training that is necessary
  Maybe even at the leadership level?

## Slide 12: Measurements and Audits
Should be realistic and attainable
  Consider benchmarking & using BMPs
  Involve your staff in setting the goals
Should not cause short cuts on safety or quality.
  Make safety and quality one of the measurements
Provide recognition for achieving goals
Share with your governing body
WDR – 2 year (WDR D.13.x) and 5 year (WDR D.13.xi)
Adjust as needed (WDR D.13.ix)

## Slide 13: Q & A Open Discussion
Andy Morrison
AMConsulting
stuartandrewmorrison@gmail.com